## About
EoTCCwTC Elasticity of TCC wrt Transmission Capacity
Sources: | WECC Transmission Capacity
Western Electricity Coordinating Council
2013
WECC Path Reports
https://www.wecc.org/_layouts/15/WopiFrame.aspx?sourcedoc=/Reliability/TAS_PathReports_Combined_FINAL.pdf&action=default&DefaultItemOpen=1
Figure 18
Curtailment with various levels of transmission build-out
National Renewable Energy Laboratory
2015
Reducing Wind Curtailment through Transmission Expansion in a Wind Vision Future
https://www.nrel.gov/docs/fy17osti/67240.pdf
Table 5 and page 14
Various EPS outputs, see EPS Outputs Used in Calibration tab
Notes
This variable governs the relationship between the percentage change
in transmission capacity (that is, transmission capacity on the ground,
a physical build-out of the system) and change in the Transmission
Connectivity Coefficient (TCC), a multiplier that governs the fraction of
flexibility points that is usable.
In essence, in a region where a lack of transmission or interconnection is
the main factor limiting the usability of flexibility resources, the elasticity
here should be relatively high. However, in a region with plenty of
transmission capacity relative to the amount of flexibility-providing
resources (or flexibility-demanding resources), a lower elasticity
may be more appropriate, as increasing transmission capacity further
may have little impact on the usability of flexibility-providing
resources.
The elasticity in this variable should be positive (or zero), not negative,
because increasing transmission should never reduce the TCC.
For the U.S., we use an NREL study (WECC specific). We estiamte the percentage increase in transmission for each of the scenarios, then
translate generation in the study to the EPS flexibility point framework in order to estimate what curtailment would be in the model. We
then manually calibrate the values for BTCC (see elec/FPC) and this variable to roughly match the percentage curtailment across scenarios.
To update, replace outputs in the EPS Outputs Used in Calibration tab, vary the parameters highlighted in green in the Calibration tab,
and try to match the curtailment value highlighted in yellow.

## WECC Path Ratings
Path # | Path Rating (MW)
1 | 1000
3 | 3150
8 | 2200
9 | 2573
10 | 2598
11 | 2598
14 | 2400
16 | 500
17 | 2557
18 | 337
19 | 2200
20 | 1000
22 | 2325
23 | 840
27 | 1920
29 | 200
30 | 650
31 | 690
35 | 300
36 | 1605
42 | 600
46 | 10623
47 | 1048
48 | 1970
49 | 9300
50 | 1200
51 | 2800
52 | 17
60 | 56
61 | 2400
65 | 3100
66 | 4800
75 | 1500
76 | 300
78 | 600
80 | 600

## Calculations
2050 Wind and solar penetration in NREL study
% wind | 28.81%
% solar | 11.94%
BAU U.S. Transmission Capacity (elec/BTC)
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
BAU Transmission Capacity (MW*miles) | 175000000 | 175132978.7234 | 175265957.4468 | 175398936.1702 | 175531914.8936 | 175664893.617 | 175797872.3404 | 175930851.0638 | 176063829.7872 | 176196808.5106 | 176329787.234 | 176462765.9574 | 176595744.6809 | 176728723.4043 | 176861702.1277 | 176994680.8511 | 177127659.5745 | 177260638.2979 | 177393617.0213 | 177526595.7447 | 177659574.4681 | 177792553.1915 | 177925531.9149 | 178058510.6383 | 178191489.3617 | 178324468.0851 | 178457446.8085 | 178590425.5319 | 178723404.2553 | 178856382.9787 | 178989361.7021 | 179122340.4255 | 179255319.1489 | 179388297.8723 | 179521276.5957 | 179654255.3191 | 179787234.0426 | 179920212.766 | 180053191.4894 | 180186170.2128 | 180319148.9362
Transmission Added
2011 WECC Transmission Capacity (GW) | 72.557
Extrapolated 2015 Transmission Capacity | 72.7774
Extrapolated 2050 Transmission Capacity | 74.7056
Estimated Increase in Transmission by Scenario
| GW | % Increase over BAU | Curtailment
Transmission 1 scenario | 10.5 | 14.06% | 7.8%
Transmission 2 scenario | 18.5 | 24.76% | 6.2%
Transmission 3 scenario | 21.5 | 28.78% | 4.4%
Reference scenario | planned additions | 0% | 15.5%

## Calibration
|  |  |  | Number of pixels | Percent of total generation | Percent of total generation, adjusted to remove curtailment
|  |  | Curtailment | 42 | 8.955% | 0%
|  |  | CSP | 8 | 1.706% | 1.874%
|  |  | Wind | 123 | 26.23% | 28.81%
|  |  | PV | 51 | 10.87% | 11.94%
|  |  | Storage | 3 | 0.6397% | 0.7026%
|  |  | Other | 2 | 0.4264% | 0.4684%
|  |  | Gas CT | 8 | 1.706% | 1.874%
|  |  | Gas CC | 77 | 16.42% | 18.03%
|  |  | Hydro | 72 | 15.35% | 16.86%
|  |  | Coal | 59 | 12.58% | 13.82%
|  |  | Biomass | 9 | 1.919% | 2.108%
|  |  | Geothermal | 15 | 3.198% | 3.513%
Additional Variables Needed for Calculations
Battery storage capacity factor, assuming 4hr duration | 0.16667
BAU TCC Assumption | 0.0845
EoTCCwTC Assumption | 3.8
Selected Increase in Transmission | 0%
Calculated TCC | 0.0845
Calculations
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Calculated flexibility points from peakers (calculated only for 2050) | [30 empty] | 588526.0712
Calculated flexibility points from battery storage (calculated only for 2050) | [30 empty] | 176116.4268
Usable Flexibility Points (from all sources except peakers and battery storage, read directly from model) | 83198.8044 | 88729.0596 | 91787.797 | 94940.5201 | 98618.619 | 103099.2019 | 108464.636 | 114882.637 | 122639.835 | 131675.289 | 141513.6 | 152130.919 | 163634.342 | 175343.596 | 187451.968 | 199821.259 | 212227.211 | 224716.27 | 236845.042 | 248505.256 | 259790.61 | 270578.64 | 281079.41 | 291177.64 | 301218.94 | 311247.26 | 321181.67 | 331010.57 | 341030.55 | 351229.47 | 361511.1
Total 2050 Flexibility Points | 1126153.598
| Estimated Generation, 2050 | Calculated flexibility points used, 2050 | Fraction of Flexibility Points Used | Percent Reduction in Cap Factor due to Flexibility Point Constraints
wind | 1757.0549 | 513582.4083 | 5.397 | 0.18384
solar | 728.535 | 327562.2521 | 3.4422 | 0.085395
Weighted average curtailment | 0.15499

## EPS Outputs Used in Calibration
Time (Time) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Flexibility Points from Transmission Across Modeled Region Border : MostRecentRun | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8 | 12689.8
Time (Time) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Flexibility Points from Demand Response : MostRecentRun | 68578.6 | 73193 | 74903.1 | 76051.3 | 76920.4 | 77564.2 | 77990.5 | 78283.6 | 78766.1 | 79555.9 | 79973.2 | 80421.1 | 80942.1 | 81367.1 | 81797.2 | 82314.3 | 82811 | 83438.2 | 83991.1 | 84513.4 | 85134.2 | 85702.6 | 86310.6 | 86999.3 | 87686.7 | 88461.1 | 89249.6 | 89966.5 | 90761.4 | 91658.7 | 92620
Time (Time) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Flexibility Points from Electric Vehicles[LDVs] : MostRecentRun | 1928.41 | 2829.76 | 4150.47 | 6106.79 | 8843.98 | 12587.1 | 17416 | 23418.2 | 30562.8 | 38673.8 | 47955.5 | 57984.1 | 68823.6 | 79963.6 | 91496.4 | 103203 | 114966 | 126680 | 138116 | 149123 | 159668 | 169782 | 179581 | 188905 | 198178 | 207353 | 216421 | 225456 | 234605 | 243833 | 253082
Flexibility Points from Electric Vehicles[HDVs] : MostRecentRun | 1.9944 | 6.9187 | 15.777 | 31.1756 | 54.721 | 86.7629 | 126.031 | 172.138 | 222.737 | 276.685 | 334.802 | 394.74 | 457.255 | 521.634 | 587.677 | 654.312 | 721.911 | 791.31 | 862.422 | 934.126 | 1008.11 | 1083.51 | 1160.28 | 1237.98 | 1316.52 | 1395.83 | 1475.2 | 1554.04 | 1631.52 | 1705.91 | 1777.33
Flexibility Points from Electric Vehicles[aircraft] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flexibility Points from Electric Vehicles[rail] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flexibility Points from Electric Vehicles[ships] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Flexibility Points from Electric Vehicles[motorbikes] : MostRecentRun | 0 | 9.5809 | 28.65 | 61.4545 | 109.718 | 171.339 | 242.305 | 318.899 | 398.398 | 479.104 | 560.298 | 641.179 | 721.587 | 801.462 | 880.891 | 959.847 | 1038.5 | 1116.96 | 1185.72 | 1244.93 | 1290.5 | 1320.73 | 1337.73 | 1345.56 | 1347.92 | 1347.53 | 1346.07 | 1344.23 | 1342.83 | 1342.06 | 1341.97
Flexibility Points per unit peaker capacity | 6
Flexibility Points per unit battery capacity | 6
Time (Time) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
BECF BAU Expected Capacity Factors[hard coal es,preexisting retiring] : High+GB | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496 | 0.496
BECF BAU Expected Capacity Factors[hard coal es,preexisting nonretiring] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BECF BAU Expected Capacity Factors[hard coal es,newly built] : High+GB | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539 | 0.54539
BECF BAU Expected Capacity Factors[natural gas nonpeaker es,preexisting retiring] : High+GB | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141 | 0.141
BECF BAU Expected Capacity Factors[natural gas nonpeaker es,preexisting nonretiring] : High+GB | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573 | 0.573
BECF BAU Expected Capacity Factors[natural gas nonpeaker es,newly built] : High+GB | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551 | 0.1551
BECF BAU Expected Capacity Factors[nuclear es,preexisting retiring] : High+GB | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934
BECF BAU Expected Capacity Factors[nuclear es,preexisting nonretiring] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BECF BAU Expected Capacity Factors[nuclear es,newly built] : High+GB | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934 | 0.934
BECF BAU Expected Capacity Factors[hydro es,preexisting retiring] : High+GB | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412 | 0.412
BECF BAU Expected Capacity Factors[hydro es,preexisting nonretiring] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BECF BAU Expected Capacity Factors[hydro es,newly built] : High+GB | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532 | 0.4532
BECF BAU Expected Capacity Factors[onshore wind es,preexisting retiring] : High+GB | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344 | 0.344
BECF BAU Expected Capacity Factors[onshore wind es,preexisting nonretiring] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BECF BAU Expected Capacity Factors[onshore wind es,newly built] : High+GB | 0.39054 | 0.39447 | 0.3984 | 0.40232 | 0.40625 | 0.41017 | 0.4141 | 0.41802 | 0.42195 | 0.42587 | 0.4298 | 0.43055 | 0.4313 | 0.43205 | 0.43281 | 0.43356 | 0.43431 | 0.43506 | 0.43582 | 0.43657 | 0.43732 | 0.43807 | 0.43882 | 0.43958 | 0.44033 | 0.44108 | 0.44183 | 0.44258 | 0.44334 | 0.44409 | 0.44484
BECF BAU Expected Capacity Factors[solar PV es,preexisting retiring] : High+GB | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243 | 0.243
BECF BAU Expected Capacity Factors[solar PV es,preexisting nonretiring] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BECF BAU Expected Capacity Factors[solar PV es,newly built] : High+GB | 0.25389 | 0.25632 | 0.25875 | 0.26117 | 0.2636 | 0.26603 | 0.26846 | 0.27088 | 0.27331 | 0.27574 | 0.27816 | 0.27922 | 0.28027 | 0.28133 | 0.28239 | 0.28344 | 0.2845 | 0.28556 | 0.28661 | 0.28767 | 0.28872 | 0.28978 | 0.29083 | 0.29189 | 0.29295 | 0.294 | 0.29506 | 0.29611 | 0.29717 | 0.29823 | 0.29928
BECF BAU Expected Capacity Factors[solar thermal es,preexisting retiring] : High+GB | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212 | 0.212
BECF BAU Expected Capacity Factors[solar thermal es,preexisting nonretiring] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BECF BAU Expected Capacity Factors[solar thermal es,newly built] : High+GB | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933 | 0.58933
BECF BAU Expected Capacity Factors[biomass es,preexisting retiring] : High+GB | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625 | 0.625
BECF BAU Expected Capacity Factors[biomass es,preexisting nonretiring] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BECF BAU Expected Capacity Factors[biomass es,newly built] : High+GB | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875 | 0.6875
BECF BAU Expected Capacity Factors[geothermal es,preexisting retiring] : High+GB | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696 | 0.696
BECF BAU Expected Capacity Factors[geothermal es,preexisting nonretiring] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BECF BAU Expected Capacity Factors[geothermal es,newly built] : High+GB | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656 | 0.7656
BECF BAU Expected Capacity Factors[petroleum es,preexisting retiring] : High+GB | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053
BECF BAU Expected Capacity Factors[petroleum es,preexisting nonretiring] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BECF BAU Expected Capacity Factors[petroleum es,newly built] : High+GB | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933
BECF BAU Expected Capacity Factors[natural gas peaker es,preexisting retiring] : High+GB | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133 | 0.133
BECF BAU Expected Capacity Factors[natural gas peaker es,preexisting nonretiring] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BECF BAU Expected Capacity Factors[natural gas peaker es,newly built] : High+GB | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463 | 0.1463
BECF BAU Expected Capacity Factors[lignite es,preexisting retiring] : High+GB | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376 | 0.376
BECF BAU Expected Capacity Factors[lignite es,preexisting nonretiring] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BECF BAU Expected Capacity Factors[lignite es,newly built] : High+GB | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389 | 0.41389
BECF BAU Expected Capacity Factors[offshore wind es,preexisting retiring] : High+GB | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488 | 0.488
BECF BAU Expected Capacity Factors[offshore wind es,preexisting nonretiring] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BECF BAU Expected Capacity Factors[offshore wind es,newly built] : High+GB | 0.49179 | 0.4947 | 0.49696 | 0.4988 | 0.50036 | 0.50171 | 0.5029 | 0.50396 | 0.50493 | 0.50581 | 0.50662 | 0.50736 | 0.50806 | 0.50871 | 0.50933 | 0.50991 | 0.51045 | 0.51097 | 0.51146 | 0.51193 | 0.51238 | 0.51281 | 0.51323 | 0.51362 | 0.514 | 0.51437 | 0.51473 | 0.51507 | 0.5154 | 0.51572 | 0.51603
BECF BAU Expected Capacity Factors[crude oil es,preexisting retiring] : High+GB | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053
BECF BAU Expected Capacity Factors[crude oil es,preexisting nonretiring] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BECF BAU Expected Capacity Factors[crude oil es,newly built] : High+GB | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933
BECF BAU Expected Capacity Factors[heavy or residual fuel oil es,preexisting retiring] : High+GB | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053 | 0.053
BECF BAU Expected Capacity Factors[heavy or residual fuel oil es,preexisting nonretiring] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BECF BAU Expected Capacity Factors[heavy or residual fuel oil es,newly built] : High+GB | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933 | 0.057933
BECF BAU Expected Capacity Factors[municipal solid waste es,preexisting retiring] : High+GB | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674 | 0.674
BECF BAU Expected Capacity Factors[municipal solid waste es,preexisting nonretiring] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BECF BAU Expected Capacity Factors[municipal solid waste es,newly built] : High+GB | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414 | 0.7414
Time (Time) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Output Electricity Generation by Type[hard coal es] : High+GB | 728.827 | 1070.67 | 859.571 | 822.752 | 815.185 | 583.059 | 537.033 | 471.907 | 493.989 | 516.093 | 525.2 | 527.02 | 531.935 | 542.149 | 532.103 | 524.366 | 529.622 | 522.185 | 496.764 | 487.274 | 483.195 | 482.423 | 485.563 | 481.737 | 489.164 | 469.498 | 461.494 | 463.874 | 451.945 | 442.761 | 446.913
Output Electricity Generation by Type[natural gas nonpeaker es] : High+GB | 1430.39 | 1069.99 | 1306.09 | 1380.53 | 1342.26 | 1280.42 | 1312.99 | 1336.47 | 1291.09 | 1238.59 | 1216.17 | 1207.83 | 1191.4 | 1172.69 | 1172.4 | 1168.38 | 1162.81 | 1170.34 | 1188.41 | 1193.56 | 1196.13 | 1195.03 | 1189.96 | 1194.97 | 1192.41 | 1199.86 | 1199.95 | 1193.65 | 1199.9 | 1208.24 | 1198.85
Output Electricity Generation by Type[nuclear es] : High+GB | 790.521 | 753.703 | 753.703 | 753.703 | 753.703 | 749.612 | 643.248 | 577.793 | 557.339 | 504.157 | 504.157 | 487.793 | 475.52 | 467.339 | 450.975 | 450.975 | 442.793 | 426.429 | 418.247 | 418.247 | 418.247 | 418.247 | 418.247 | 397.793 | 352.793 | 352.793 | 352.793 | 344.611 | 328.247 | 328.247 | 328.247
Output Electricity Generation by Type[hydro es] : High+GB | 287.467 | 287.892 | 287.928 | 288.555 | 288.497 | 288.515 | 288.515 | 288.536 | 287.916 | 287.631 | 287.631 | 287.631 | 287.631 | 287.631 | 287.631 | 287.631 | 287.631 | 287.631 | 287.631 | 287.631 | 287.631 | 287.631 | 287.631 | 287.631 | 287.342 | 287.342 | 287.342 | 287.331 | 287.331 | 287.277 | 287.277
Output Electricity Generation by Type[onshore wind es] : High+GB | 357.003 | 408.442 | 420.594 | 430 | 501.883 | 680.873 | 771.432 | 848.576 | 892.39 | 953.219 | 980.099 | 1013.36 | 1047.09 | 1078.01 | 1116.01 | 1151.1 | 1185.35 | 1223.17 | 1260.67 | 1293.31 | 1322.9 | 1353.73 | 1385.02 | 1425.75 | 1474.81 | 1513.08 | 1547.39 | 1582.19 | 1623.26 | 1656.73 | 1691.54
Output Electricity Generation by Type[solar PV es] : High+GB | 97.7566 | 133.904 | 161.525 | 180.315 | 223.681 | 397.025 | 466.631 | 534.965 | 576.416 | 640.269 | 668.511 | 708.65 | 749.725 | 787.606 | 835.047 | 878.852 | 921.9 | 969.901 | 1017.18 | 1058.13 | 1095.76 | 1135.33 | 1175.59 | 1228.51 | 1290.8 | 1337.23 | 1379.93 | 1424.05 | 1476.42 | 1518.27 | 1563.79
Output Electricity Generation by Type[solar thermal es] : High+GB | 3.2648 | 3.2648 | 3.2648 | 3.2648 | 4.0702 | 8.097 | 8.9023 | 9.7077 | 9.7077 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131 | 10.5131
Output Electricity Generation by Type[biomass es] : High+GB | 36.3639 | 36.6367 | 37.0459 | 37.1823 | 37.7279 | 39.7738 | 40.7285 | 41.4105 | 41.6833 | 41.9561 | 42.0925 | 42.2289 | 42.3652 | 42.5016 | 42.638 | 42.7744 | 42.9108 | 43.0472 | 43.1836 | 43.1836 | 43.1836 | 43.1836 | 43.1836 | 43.1836 | 43.32 | 43.32 | 43.32 | 43.32 | 43.32 | 43.32 | 43.32
Output Electricity Generation by Type[geothermal es] : High+GB | 15.346 | 15.6143 | 15.6143 | 15.6143 | 16.4862 | 19.9736 | 21.6503 | 22.9916 | 23.6623 | 24.4671 | 24.7354 | 25.1378 | 25.5402 | 25.8755 | 26.2779 | 26.6132 | 26.9486 | 27.2839 | 27.6192 | 27.8875 | 28.0887 | 28.2899 | 28.4911 | 28.7594 | 29.0947 | 29.363 | 29.5642 | 29.7654 | 29.9666 | 30.1678 | 30.3019
Output Electricity Generation by Type[petroleum es] : High+GB | 11.5866 | 11.5876 | 11.5876 | 11.5876 | 11.5881 | 11.5932 | 11.5988 | 11.6023 | 11.6064 | 11.6114 | 11.617 | 11.6216 | 11.6256 | 11.6297 | 11.6338 | 11.6383 | 11.6429 | 11.6465 | 11.6505 | 11.6546 | 11.6581 | 11.6617 | 11.6657 | 11.6688 | 11.6713 | 11.6744 | 11.6774 | 11.6805 | 11.684 | 11.6876 | 11.6911
Output Electricity Generation by Type[natural gas peaker es] : High+GB | 152.275 | 155.158 | 156.51 | 157.098 | 157.36 | 163.261 | 169.431 | 174.184 | 180.784 | 189.563 | 198.575 | 206.521 | 214.036 | 221.422 | 228.791 | 237.314 | 245.516 | 252.693 | 260.388 | 268.975 | 276.921 | 285.275 | 294.508 | 302.454 | 308.605 | 317.198 | 326.105 | 335.588 | 345.661 | 357.836 | 370.139
Output Electricity Generation by Type[lignite es] : High+GB | 16.9214 | 25.6925 | 21.1415 | 22.2925 | 23.2451 | 27.0557 | 25.8632 | 24.7678 | 26.7559 | 28.7623 | 30.1193 | 30.7919 | 32.1115 | 33.2882 | 33.5502 | 33.7917 | 34.0935 | 33.7181 | 33.1031 | 32.6849 | 32.4127 | 32.4293 | 32.6169 | 32.3443 | 32.8395 | 32.8598 | 32.6315 | 32.796 | 32.3968 | 31.7254 | 32.0196
Output Electricity Generation by Type[offshore wind es] : High+GB | 0.12397 | 0.16731 | 0.25457 | 4.275 | 11.1037 | 20.5605 | 26.336 | 31.3581 | 34.1823 | 35.9475 | 36.6483 | 37.5912 | 38.5996 | 39.5403 | 40.7032 | 41.7542 | 42.805 | 43.9897 | 45.197 | 46.2474 | 47.1631 | 48.146 | 49.1513 | 50.4714 | 52.1298 | 53.4512 | 54.5926 | 55.7343 | 57.102 | 58.1992 | 59.2965
Output Electricity Generation by Type[crude oil es] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Output Electricity Generation by Type[heavy or residual fuel oil es] : High+GB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Output Electricity Generation by Type[municipal solid waste es] : High+GB | 13.8758 | 13.8758 | 13.8758 | 13.8758 | 15.09 | 16.4145 | 17.6286 | 18.622 | 19.3946 | 20.0569 | 20.6088 | 21.0503 | 21.4918 | 21.9333 | 22.2644 | 22.5955 | 22.9267 | 23.2578 | 23.5889 | 23.8097 | 24.0304 | 24.2512 | 24.4719 | 24.6927 | 24.9134 | 25.1342 | 25.3549 | 25.4653 | 25.5757 | 25.6861 | 25.7964
Time (Time) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
FPCbS Flexibility Points Consumed by Source[hard coal es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPCbS Flexibility Points Consumed by Source[natural gas nonpeaker es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPCbS Flexibility Points Consumed by Source[nuclear es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPCbS Flexibility Points Consumed by Source[hydro es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPCbS Flexibility Points Consumed by Source[onshore wind es] : MostRecentRun | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
FPCbS Flexibility Points Consumed by Source[solar PV es] : MostRecentRun | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
FPCbS Flexibility Points Consumed by Source[solar thermal es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPCbS Flexibility Points Consumed by Source[biomass es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPCbS Flexibility Points Consumed by Source[geothermal es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPCbS Flexibility Points Consumed by Source[petroleum es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPCbS Flexibility Points Consumed by Source[natural gas peaker es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPCbS Flexibility Points Consumed by Source[lignite es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPCbS Flexibility Points Consumed by Source[offshore wind es] : MostRecentRun | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
FPCbS Flexibility Points Consumed by Source[crude oil es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPCbS Flexibility Points Consumed by Source[heavy or residual fuel oil es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPCbS Flexibility Points Consumed by Source[municipal solid waste es] : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Time (Time) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
FPC Curtailment Third Order Coeff : MostRecentRun | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FPC Curtailment Second Order Coeff : MostRecentRun | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046 | 0.0046
FPC Curtailment First Order Coeff : MostRecentRun | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097 | 0.0097
FPC Curtailment Zeroth Order Coeff : MostRecentRun | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025 | -0.0025

## EoTCCwTC
Unit: dimensionless | Elasticity
TCC | 3.8