## About
MCGLT | Max Capacity Growth Lookup Table
| Utility Name | Plant Name | Fuel Type | Supply Area
| 香港电灯有限公司（港灯）SCA | 南丫发电厂 Lamma Power Station | Coal、Natural Gas、Ultra Low Sulphur Diesel、Solar PV | Hong Kong Island and Lamma Island
|  | 南丫风电站 Lamma Wind | Wind
| 中华电力有限公司（中电）CLP | 青山发电厂 Castle Peak Power Station | Coal | Kowloon, the New Territories and most of the Islands District
|  | 龙鼓滩发电厂 Black Point Power Station | Natural Gas
|  | 竹篙湾发电厂 Penny's Bay Power Station | Ultra Low Sulphur Diesel
| Notes: The three members of the CLP are owned by Qingshan Power Generation Co., Ltd., a joint venture between CLP and China Southern Power Grid International Co., Ltd. CLP owns 70% of Qingdian. |  |  | Notes: The government emphasizes in the latest regulatory documents that it does not specify the supply area of the power company, nor does it prohibit other power companies from entering the market.
| about | main sources
| all power plants in Hong Kong | https://www.epd.gov.hk/eia/register/report/eiareport/eia_2562018/HTML/0359722_HKOLNG%20EIA_00_Exec%20Summ%20(CHI)_Rev%203.htm
| SCA | https://www.hkelectric.com/en/MediaResources/Documents/LPS_2014.pdf
http://203.187.160.134:9011/www3.hkexnews.hk/c3pr90ntc0td/listedco/listconews/sehk/2014/0116/02638_1822009/CWF118.pdf
| CLP | https://sustainability.clpgroup.com/
| Notes | 1.Since the installed capacity of Fuel type calculated by the Hong Kong government is not found, the installed capacity of Fuel type each year can only be found from the asset data or sustainable development report of the two utilities official websites. However, the statistical calibalities of CLP and SCA are both rough, and it is not known whether they can meet the requirements of using the model to predict.
2.For SCA's install capacity changes throughout the years, I use the datas of Lama Power Station's 1982 installed capacity when it started supplyed power , as well as SCA 2014 annual company reports and official website's introduction of Lamma Power Station mentioned its major construction and reform experience. Then I calculate or estimate of its installed capacity of differrent fuel type year by yearI used orange to mark the place where I think I can't specify the specific change value (sheet "Annual Installed Capacity").
3.I have found that the installed capacity of CLP and SCA power plants in Hong Kong has hardly changed in the past seven years, and it is difficult to calculate their mac capacity growth for the next few decades. Therefore, I calculated the ratio of annual GDP, GDP growth, total power generation of power plants, and power generation of power plants between Hong Kong and China from 2010 to 2016. I hope to estimate Hong Kong through China's mac capacity growth. By comparing the four ratios, I chose the ratio of the power generation growth of Hong Kong and China's power plants. And then I adjusted it with the future construction intentions blueprint in the sustainable development plan or other plans released by SCA and CLP from 2007 to 2018 to make the results more realistic.

## HKEC Assets
Asset Information of HKE-HKE's Power Stations | [6 empty] | https://www.hkelectric.com/documents/en/CorporateSocialResponsibility/CorporateSocialResponsibility_CDD/Documents/SR2022E.pdf
1. Operating | Station | Generator | Capacity (MW) | In-produce Year | Lifetime | Note
Lamma Power Station(南丫发电厂)
| Coal&Oil |  | 2305
|  | 5 oil fired open-cycle gas turbine units | 555 | 1984 |  | aim to cease coal-fired power operations by 2035
|  | 5 coal fired units | 1750 | 1991 |  | Fuel oil is used for starting and flame stabilisation of coal-fired units and so the specific breakdown for fuel oil was not provided
| Gas |  | 1095
|  | 3 gas-fired combined cycle units | 1095 | 2006 |  | L10, L11 were commissioned in 2020 and 2022 respectively. L12 operation date to be revised to Early 2024, rather than 2023
| RE |  | 2
|  | Solar PV | 1.1 | 2006 |  | Generate 1.1 Mil. kWh each year(by prediction) with 915kT CO2 reduced.
|  | Other small-scale RE installation | 0.1 | 2013 |  | Solar comes not only from the utilities but also from smaller public or private installations
|  | Wind Power | 0.8 | 2006 |  | Generatting 1Mil. kWh each year.
| Sum | Sum-2017 | 3487
|  | Sum-2022 | 3402
|  | delta(2017-2014) | 85
Gas Ratio
|  | From 2022 Annual Report | 53%
|  | Calculation | 0.99941 |  |  | The Oil-fired gas turbine units is also considered.
2. In Construction | Station | Generator | Capacity (MW) | In-produce Year | Lifetime | Note
|  | Solar PV on rooftops | 1.2 | 2023 |  | aim to double existing the existing capacity of installed PVs (from 1.1 to 2.4)
3. Approved | Station | Generator | Capacity (MW) | In-produce Year | Lifetime | Note
|  | Offshore LNG Terminal |  |  |  | jointly made with CLP to make Hong Kong's largest LNG storage of 263,000 cubic metres
4. Plans
| Offshore wind farm | 150 |  |  | Will generate roughly 400 million units of zero-carbon electricity per year
NOTE: 150MW is the expected total installed capacity rather than additional 150 MW
Note on C30: Yazhen Wu: HKE didn't offer the number of capacity. Assume it's 350MW.

## CLP Assets
Performance Statistics of CLP’s Asset |  |  | https://www.clpgroup.com/content/dam/clp-group/channels/investor/document/3-3-financial-reports/2022/e_2022Annual%20Report.pdf.coredownload.pdf
CLP in Hong Kong 亚太业务-香港
Summary of HK Power Genaration Stations
| Power Stations | Capacity(MW) | Fuel | In-production Year 投产年份 | 备注 | Source: https://www.clp.com.hk/zh/about-clp/power-generation/infrastructure-and-fuel-mix
| Castle Peak Power Station青山发电厂 | 4108 | Coal | 1980 | (=4*350MW+4*677MW). CLP owns 2875.6 MW. Accounts for more than 40% of CLP's generating capacity. A joint venture jointly owned by CLP power (70%) and China southern power international (Hong Kong) limited (30%).
| 3 350MW coal fired units, 4 667MW units. One 350MV unit that is available for emergency use |  |  |  | A unit coal generators are expected to gradually retire in the mid 2020s and to be replaced with D2-gas fired units
B unit will cease coal operations for daily power generation by 2035
| Black Point Power Station 龙鼓滩发电厂 | 3250 | Gas | 1996-2006, by stages | (=8*312.5MW). CLP owns 1750 MW. One of the largest gas-fired combined cycle power plants in the world. A joint venture between CLP power (70 per cent) and China southern power international (Hong Kong) limited (30 per cent), with CLP power operating the plant.
| Penny's Bay Power Station 竹篙湾发电厂 | 300 | Oil-powered Gas (turbine) | 1992 | CLP owns 210 MW. Important backup power generation facilities, can quickly respond to emergencies and peak power demand.It can be put into operation quickly.Linking to the 132KV transmission network, power generation is supplied to the New Territories via submarine cables
| NT West Biomass Project 新界西堆填区沼气发电项目 | 10 | Biomass | 2019 | (=5*2MW). In construction. The largest landfill gas power generation project in Hong Kong. | [6 empty] | （中电资料册）
| Daya Bay Nuclear Power Station in Guangdong 广东大亚湾核电站 | 1968 | Nuclear | 1994 | (=2*984MW). 70% of the generated electricity is sold to CLP to transmit to HK. Supply 25% of HK's elec demand. The contract is renewed until 2034 in 2009. From the end of 2014 to 2018, the propotion of electricity export from the port in total power generation increased to 80%.
| Purchased by CLP (70%) | 1380
| Guangzhou Pumped Storage Power Station 广州蓄能水电厂 | 2400 | Hydro | 1994 and 2000 (finished by 2 stages, 1200MW respectively) | To support the grid system to cope with peak generating capacity as a backup energy source in case of emergency.CLP's rights expire in 2034.
| Total Capacity | 7668
| Total Capacity (including those under construction) 香港总装机容量（含在建）(as of June 2023) | 8268 |  |  | https://www.clpgroup.com/en/about/our-business/our-regional-presence.html
https://www.clpgroup.com/content/dam/clp-group/channels/media/document/embedded_pdfs_en/20211028_D1_Factsheet_en.pdf
Scheme of Control (SoC) Business in Hong Kong 香港管制计划业务部分
| Indicator | Unit | 2022 | 2018
| Electricity Sales 电力销售 | GWh | 34824 | 34218
| Generation capacity and capacity purchase 发电容量+购入的发电容量 | MW | 9245 | 8360.6
CLP owns 区内投资
| HK Elec transmission, distribution and customer service | 100% | CLP Power HK Limited |  |  |  |  | Source: Investor information - business data 投资者信息-业务资料
| HK Elec generation | 70% | Castle Peak Power Company Limited |  | 另外30%是南方電網國際（香港）有限公司The other 30 percent is China southern power grid international (Hong Kong) LTD |  |  | https://www.clpgroup.com/tc/investors-information/quick-facts/operating-information
| HK Gas pipeline | 40% | PetroChina Company Limited |  | 另外60%是中國石油天然氣股份有限公司The other 60% is petrochina
Business Model 商业模式
Power generation, transmission and retail 發電、輸供電及零售業務
Purchase electricity to supplement local needs 購買電力以補充本地所需的供應
The cost of imported fuel and related fuel borne by the customer 進口燃料、相關燃料成本由客戶承擔
Power Stations
| 龙鼓滩 Black Point Power Station |  | 2022资产表现数据 2022 Asset Performance Statistics | 2022资产表现数据 2022 Asset Performance Statistics | 2022资产表现数据 2022 Asset Performance Statistics | 2018资产表现数据 2018 Asset Performance Statistics |  |  |  | Infomation
| 营运Operation | Unit | 2022 | 2021 | 2020 | 2018 | 2017 | 2016 |  | Gas-fired power station 燃氣電廠    |  |  | Energy Source:
| 输出电量 Electricity sent out | GWh百万度 | 16907 | 17426 | 15889 | 9304 | 9550 | 9175 |  | 2,525MW (3 x 337.5MW & 5 x 312.5MW) 2,525兆瓦 (3 x 337.5兆瓦 和 5 x 312.5兆瓦)
| 天然气消耗 Gas consumed | TJ | 128452 | 132603 | 123003 | 72963 | 75747 | 73014 |  | Plant commissioned between 1996 and 2006 電廠於1996年至2006年間分阶段投產
| 燃油消耗 Oil consumed | TJ | 97 | 337 | 68 | 163 | 76 | 227 |  | Shareholding of 70% with operational control by CLP 中電擁有70%權益及營運控制權(1750MW)
| 发电效能 Thermal effiiciency | % | 99.2 | 98.5 | 98.4 | 45.8 | 45.3 | 45.1
| 气体排放Air Emissions | Unit | 2022 | 2021 | 2020 | 2018 | 2017 | 2016
| CO2 (Scope1)(1) | kT | 6485 | 6837 | 6398 | 3776 | 3923 | 3761
| CO2 (Scope1) | kT | 6446 | 6800 | 6373 | 3759 | 3906 | 3745 |  | Note:
| SO2 | kT | 0.038 | 0.021 | 0.078 | 0.08 | 0.08 | 0.05 |  | (1) Scope 2 emissions are included in Scope 1 as electricity consumed was generated within CLP Power Hong Kong's own Organisational
| NOx | kT | 1.98 | 1.95 | 2.08 | 1.4 | 1.4 | 1.6 |  | boundary.
| 总颗粒物 Total Particulate | kT | 0.106 | 0.109 | 0.101 | 0.06 | 0.06 | 0.06 |  | 使用的電力在中華電力的設施內生產, 因此範疇二的溫室氣體排放已包括在範疇㇐內。
| 可吸入悬浮颗粒物 Resipirable Particulate | kT | 0.106 | 0.109 | 0.101 | 0.06 | 0.06 | 0.06 |  | (2) Not applicable to Black Point.
| 水Water | Unit | 2022 | 2021 | 2020 | 2018 | 2017 | 2016 |  | 不適用於龍鼓灘電廠。
| Water Withdrawal - Total | Mm3 | 1589.2 | 1593.5 | 1427.4 | 943.9 | 923.7 | 934.9 |  | (3) Wastewater is mainly treated on site and discharged to sea. Data for small amount of wastewater from onsite mobile toilet are not
| from marine water resources | Mm3 | 1588.6 | 1592.9 | 1426.8 | 943.5 | 923.4 | 934.6 |  | routinely collected.
| from freshwater resources (2) | Mm3 | 0.6 | 0.6 | 0.5 | --- |  |  |  | 廢水於電廠內處理再排放到海洋。電廠內的流動厠所產生少量廢水，但並無定期收集數據。
| from municipal sources | Mm3 | 1588.7 | 1593 | 1426.8 | 0.4 | 0.3 | 0.3 |  | (4) A portion of the treated wastewater is reused on site but measurement data are not routinely collected.
| Water Discharged - Total | Mm3 | 1588.7 | 1593 | 1426.9 | 943.6 | 923.5 | 934.7 |  | 部分經處理的廢水在電廠內循環再用，但並無定期收集數據。
| cooling water discharged to sea | Mm3 | 0.157 | 0.178 | 0.111 | 943.5 | 923.4 | 934.6
| treated wastewater discharged to sea | Mm3 |  |  |  | 0.1 | 0.1 | 0.1
| treated wastewater discharged to freshwater bodies (2) | Mm3 | ---
| wastewater discharged to sewerage (3) | Mm3 | ---
| Water Reused / Recycled (4) | Mm3 | ---
| 青山 Castle Peak Power Station |  | 2022资产表现数据 2022 Asset Performance Statistics |  |  | 2018资产表现数据 2018 Asset Performance Statistics |  |  |  | Information
| 营运Operation | Unit | 2022 | 2021 | 2020 | 2018 | 2017 | 2016 |  | Coal-fired power station 燃煤電廠 
| 输出电量 Electricity sent out | GWh百万度 | 6651 | 6644 | 5601 | 13727 | 13906 | 15187 |  | 4,108MW (4 x 350MW, 4 x 677MW) 4,108兆瓦 (4 x 350兆瓦, 4 x 677兆瓦)
| 煤消耗量 |  | 77172 | 75307 | 63505 | 150310 | 148065 | 160661 |  | Plant commissioned between 1982 and 1990 電廠於1982年至1990年間投產
| 燃油消耗 Oil consumed | TJ | 1748 | 1580 | 1454 | 2530 | 3808 | 3207 |  | Shareholding of 70% with operational control by CLP 中電擁有70%權益及營運控制
| 天然气消耗 Gas consumed | TJ | 1 | 6 | 7 | 6 | 59 | 1545
| 发电效能 Thermal effiiciency | % | 45.5 | 53.7 | 38.7 | 32.3 | 32.9 | 33.1
| 气体排放Air Emissions | Unit | 2022 | 2021 | 2020 | 2018 | 2017 | 2016
| CO2 (Scope1)(1) | kT | 7095 | 6880 | 5792 | 13719 | 13581 | 14834
| CO2 (Scope1) | kT | 7024 | 6821 | 5741 | 13630 | 13492 | 14737
| SO2 | kT | 1.264 | 1.854 | 1.382 | 4.7 | 4.7 | 5.2
| NOx | kT | 7.08 | 7.48 | 6.18 | 14.4 | 13.1 | 15.4
| 总颗粒物 Total Particulate | kT | 0.239 | 0.268 | 0.241 | 0.5 | 0.5 | 0.5
| 可吸入悬浮颗粒物 Resipirable Particulate | kT | 0.16 | 0.287 | 0.162 | 0.4 | 0.4 | 0.3
| 水Water | Unit | 2022 | 2021 | 2020 | 2018 | 2017 | 2016
| Water Withdrawal - Total | Mm3 | 2324.3 | 2129 | 2138.3 | 2827.2 | 2632.1 | 2742.1
| from marine water resources | Mm3 | 2322.1 | 2153.5 | 2135.3 | 2822 | 2627.4 | 2737.4
| from freshwater resources (2) | Mm3 | - | - | - | ---
| from municipal sources | Mm3 | 2.4 | 2.7 | 2.6 | 5.2 | 4.7 | 4.7
| Water Discharged - Total | Mm3 | 2323.5 | 2127.8 | 2136.8 | 2823.5 | 2628.9 | 2738.8
| cooling water discharged to sea | Mm3 | 2322.1 | 2126.7 | 2135.3 | 2822 | 2627.4 | 2737.4
| treated wastewater discharged to sea | Mm3 | 1.451 | 1.107 | 1.402 | 1.5 | 1.5 | 1.4
| treated wastewater discharged to freshwater bodies (2) | Mm3 | --- |  |  | - | - | -
| wastewater discharged to sewerage (3) | Mm3 | --- |  |  | - | - | -
| Water Reused / Recycled (4) | Mm3 | --- |  |  | - | - | -
| 竹篙湾 Penny's Bay Power Station |  | 2018资产表现数据 2018 Asset Performance Statistics |  |  | 2018资产表现数据 2018 Asset Performance Statistics |  |  |  | Information
| 营运Operation | Unit | 2022 | 2021 | 2020 | 2018 | 2017 | 2016
| 输出电量 Electricity sent out | GWh百万度 | 1.8 | 0.6 | 1.1 | 1.1 | 0.5 | 1 |  | Diesel-fired power station (backup facility providing quick-start support) 柴油電廠 (提供快速啟動支援的後備設施)
| 燃油消耗 Oil consumed | TJ | 30.2 | 9.7 | 17 | 20 | 10 | 18 |  | 300MW (3 x 100MW) 300兆瓦 (3 x 100兆瓦)
| 发电效能 Thermal effiiciency | % | 22 | 21.3 | 22.8 | 20.4 | 18 | 21.1 |  | Plant commissioned in 1992 電廠於1992年投產
| 气体排放Air Emissions | Unit | 2022 | 2021 | 2020 | 2018 | 2017 | 2016 |  | Shareholding of 70% with operational control by CLP 中電擁有70%權益及營運控制權
| CO2 (Scope1)(1) | kT | 2.14 | 0.74 | 1.2 | 1.5 | 0.9 | 1.3
| CO2 (Scope1) | kT | 2.04 | 0.65 | 1.1 | 1.4 | 0.8 | 1.2
| SO2 | kT | 1.3e-05 | 3e-06 | 6e-06 | 8e-06 | 4e-06 | 5e-06
| NOx | kT | 0.003 | 0.001 | 0.002 | 0.0021 | 0.001 | 0.0018
| 总颗粒物 Total Particulate | kT | 6e-05 | 2e-05 | 3e-05 | 4e-05 | 2e-05 | 3e-05
| 可吸入悬浮颗粒物 Resipirable Particulate | kT | 6e-05 | 2e-05 | 3e-05 | 4e-05 | 2e-05 | 3e-05
| 水Water | Unit | 2022 | 2021 | 2020 | 2018 | 2017 | 2016
| Water Withdrawal - Total | Mm3 | 0.001 | 0.0006 | 0.0005 | 0.0006 | 0.0005 | 0.0006
| from marine water resources | Mm3 | 0 | 0 | 0 | ---
| from freshwater resources (2) | Mm3 | 0.001 | 0.0006 | 0.0005 | 0 | 0 | 0.0001
| from municipal sources | Mm3 | 0 | 0 | 0 | 0.0006 | 0.0005 | 0.0005
| Water Discharged - Total | Mm3 | 0 | 0 | 0 | 0 | 0 | 0
| treated wastewater discharged to sea | Mm3 | - | - | - | 0 | 0 | 0
| treated wastewater discharged to freshwater bodies (2) | Mm3 | 0 | 0 | 0 | - | - | -
| wastewater discharged to sewerage (3) | Mm3 |  |  |  | - | - | -
| Water Reused / Recycled (4) | Mm3 |  |  |  | 0 | 0 | 0
Transmission & Distribution Network
| 输电配电系统Transmission & Distribution Network |  | 2018资产表现数据 2018 Asset Performance Statistics |  |  | 2018资产表现数据 2018 Asset Performance Statistics |  |  |  | Information
| 营运Operation | Unit | 2022 | 2021 | 2020 | 2018 | 2017 | 2016 |  | Transmission and distribution system 輸電及供電網絡
| 輸電及供電流失Transmission & distribution loss | GWh百万度 | 1201 | 1286 | 1205 | 1262 | 1321 | 1365 |  | Over 15,862 kilometres of transmission and high voltage distribution lines 輸供電高壓線路總⾧度超過15,682公里
| 輸電及供電流失Transmission & distribution loss | % | 3.3 | 3.5 | 3.4 | 3.6% | 3.8% | 3.9% |  | 232 primary substations and 14,685 secondary substations 232個總變電站及14,685個副變電站
| 營運地點耗電量Electricity used onsite | GWh百万度 | 17 | 17 | 17 | 17 | 18 | 18 |  | Wholly owned and operated by CLP 中電全資擁有及營運
| 汽油消耗量Petrol consumed | TJ | 438 | 517 | 583 | 1032 | 1059 | 1068
| 柴油消耗量Diesel consumed | % | 651 | 658 | 518 | 262 | 262 | 224
| 气体排放Air Emissions | Unit | 2022 | 2021 | 2020 | [5 empty] | 中电资料库
| CO2 (Scope1)(1) | kT | 50 | 46 | 40 | 42 | 37 | 31
| CO2 (Scope1) | kT | 2.7 | 2.9 | 3 | 3 | 3 | 3
| SF6 | kT | 45.4 | 42.2 | 36.5 | 37 | 28 | 27
| 水Water | Unit | 2022 | 2021 | 2020
| Water Withdrawal - Total | Mm3 | 0.07 | 0.07 | 0.05 | 0.05 | 0.05 | 0.05
| from marine water resources | Mm3 | 0.001 | 0.001 | 0.001 | ---
| from freshwater resources | Mm3 | 0.07 | 0.06 | 0.05 | 0 | 0 | 0
| from municipal sources | Mm3 | 0.001 | 0.001 | 0.001 | 0.05 | 0.05 | 0.05
| Water Discharged - Total | Mm3 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.004
| treated wastewater discharged to sea | Mm3 |  |  |  | 0.001 | 0.001 | 0.004
| treated wastewater discharged to freshwater bodies (2) | Mm3 | ---
| wastewater discharged to sewerage (3) | Mm3 | ---
| Water Reused / Recycled | Mm3 | ---
2016 Sustainable development report.pdf
| ​CLP's Response to the Future Fuel Mix for Electricity Generation Public Consultation Paper-2014 | [7 empty] | CLP-Information-Kit
CLP's Current Assets .pdf
Note on E10: 微软用户: CLP Kit Information 2017-2018
Note on C15: 微软用户: Data in 2022 CLP Annual Report, pg. 316

## MCGLT
hard coal | Installed Capacity | 0 | 999999999
| Max Growth Amount | 1750 | 1750
natural gas nonpeaker | Installed Capacity | 0 | 999999999
| Max Growth Amount | 100000 | 100000
nuclear | Installed Capacity | 0 | 999999999
| Max Growth Amount | 1380 | 1380
hydro | Installed Capacity | 0 | 999999999
| Max Growth Amount | 0.5 | 0.5
wind | Installed Capacity | 0 | 999999999
| Max Growth Amount | 80 | 80
solar PV | Installed Capacity | 0 | 999999999
| Max Growth Amount | 500 | 500
solar thermal | Installed Capacity | 0 | 999999999
| Max Growth Amount | 100 | 100
biomass | Installed Capacity | 0 | 999999999
| Max Growth Amount | 0 | 0
geothermal | Installed Capacity | 0 | 999999999
| Max Growth Amount | 0 | 0
petroleum | Installed Capacity | 0 | 999999999
| Max Growth Amount | 0 | 0
natural gas peaker | Installed Capacity | 0 | 999999999
| Max Growth Amount | #REF! | #REF!
lignite | Installed Capacity | 0 | 999999999
| Max Growth Amount | 500 | 500
offshore wind | Installed Capacity | 0 | 999999999
| Max Growth Amount | 200 | 200